## nla2012_wide_profile_meta_08232
SAMPLE_TYPE | VARIABLE | LABEL | LEGAL_VALUES | RANGE_HIGH | RANGE_LOW | UNITS
MACRO | DEPTH | Depth at collection point |  | 10 | 0 | m
PROF | DEPTH | Depth for profile measurements |  | 25 | 0 | m
PHAB | ODOR | Odor Type | ¦NONE¦H2S¦ANOXIC¦OIL¦CHEMICAL¦OTHER.*
PROF | ODOR | Odor present | ¦Y¦N
CALIB | CAL_INST_ID | ID of calibration instrument
CALIB | CAL_INST_MODEL | Calibration instrument model
CALIB | CAL_INST_OPERATOR | Name of calibration instrument operator
CALIB | CALIBRATION_VERIFIED | Calibration verified | ¦Y¦N
CALIB | CON_STD1_VALUE | Conductivity standard 1 value |  | 1500 | 0
CALIB | COND_QCS_DESC | Conductivity quality control sample description
CALIB | COND_QCS_MEASURED | Measurement for conductivity quality control sample |  | 1500 | 0 | uS/cm
CALIB | COND_QCS_TRUE | True for conductivity quality control sample |  | 1500 | 0 | uS/cm
CALIB | COND_STD1_DESC | Conductivity standard 1 description
CALIB | COND_STD1_VALUE | Conductivity standard 1 value |  | 1500 | 0
CALIB | COND_STD2_DESC | Conductivity standard 2 description
CALIB | COND_STD2_VALUE | Conductivity standard 2 value |  | 1500 | 0
CALIB | DO_BARO_PRESSURE | Barometric pressure for DO reading |  |  |  | mm Hg
CALIB | DO_CALIBRATION_UNITS | Units for DO Calibration | ¦PERCENT¦mg/L
CALIB | DO_CALIBRATION_VALUE | DO Calibration value |  | 100 | 0
CALIB | DO_DISPLAYED_UNITS | DO displayed units | ¦PERCENT¦mg/L
CALIB | DO_DISPLAYED_VALUE | DO displayed value |  | 101 | 0
CALIB | DO_ELEVATION | Elevation for DO reading |  | 9000 | 0 | mm Hg
CALIB | DUPLICATE_DO | Duplicate DO reading taken | ¦YES¦NO¦Y¦N
CALIB | PH_QCS_DESC | PH quality control sample description
CALIB | PH_QCS_MEASURED | Measurement for PH quality control sample |  | 14 | 1
CALIB | PH_QCS_TRUE | True for PH quality control sample |  | 14 | 1
CALIB | PH_STD1_DESC | PH standard 1 description
CALIB | PH_STD1_VALUE | PH standard 1 value |  | 14 | 1
CALIB | PH_STD2_DESC | PH standard 2 description
CALIB | PH_STD2_VALUE | PH standard 2 value |  | 14 | 1
CALIB | TEMP_SENSOR | Sensor reading |  | 30 | 0 | c
CALIB | TEMP_THERMOMETER | Thermometer reading |  | 30 | 0 | c
MACRO | DEPTH | Depth at collection point |  | 10 | 0 | m
PHAB | ODOR | Odor Type | ¦NONE¦H2S¦ANOXIC¦OIL¦CHEMICAL¦OTHER.*
PROF | ARRIVAL_TIME | Time of arrival to index site |  |  |  | datetime
PROF | CALIBRATION_VERIFIED | Calibration verified | ¦Y¦N
PROF | CONDUCTIVITY | Conductivity for index profile |  | 1500 | 0 | uS/cm
PROF | DEPTH | Depth for profile measurements |  | 25 | 0 | m
PROF | DEPTH_METHOD | Method for depth measurements | ¦LINE¦SONAR¦POLE¦ESTIMATE
PROF | DO2_2M | Dissolved oxygen averaged over the top 2 m of water |  |  |  | mg/L
PROF | DUPLICATE_DO | Duplicate DO reading w/i +/-0.5 mg/L of the initial surface reading | ¦YES¦NO¦Y¦N
PROF | E_FILE | Profile data submitted via external file | ¦YES¦NO¦Y¦N
PROF | INDEX_GPS_FIX | Type of GPS at the index site (2D, 3D) | ¦2D¦3D
PROF | INDEX_LAT_DD | Lattitude in decimal degrees at index site |  |  |  | dd
PROF | INDEX_LON_DD | Longitude in decimal degrees at index site |  |  |  | dd
PROF | INDEX_SITE_DEPTH | Depth at the index site |  | 25 | 0 | m
PROF | METALIMNION | Depth indicated for (T)op and (B)ottom of the metalimnion | ¦T¦B
PROF | ODOR | Odor present | ¦Y¦N
PROF | OXYGEN | Oxygen for index profile |  | 25 | 0 | mg/L
PROF | PH | PH for index profile |  | 14 | 1
PROF | PRECIPITATION | Precipitation at index site | ¦NONE¦LIGHT¦HEAVY
PROF | SCUM | Scum present | ¦YES¦NO
PROF | SCUM_DESC | Description of scum
PROF | SURFACE_COND | Lake surface conditions | ¦FLAT¦RIPPLES¦CHOPPY¦WHITECAPS
PROF | TEMP_CORRECTED | Conductivity temperature corrected | ¦Y¦N
PROF | TEMPERATURE | Temperature for index profile |  | 35 | 0 | c
DESIGN | STATE | State lake is assigned to for sampling in NLA 2012
PROF | INDEX_LAT_DD | Lattitude in decimal degrees at index site |  |  |  | dd
PROF | INDEX_LON_DD | Longitude in decimal degrees at index site |  |  |  | dd
VERIF | DATE_COL | Date of sample collection |  |  |  | None
VERIF | SITE_ID | Identification code for site
VERIF | VISIT_NO | Sequential number of visit to site | ¦1¦2
| UID | Unique site visit ID
| SAMPLE_TYPE | Sample type
| PUBLICATION_DATE | Publication Date
| LINE | Line